## Non-Culture & Non-Microscopy
Local X (add local columns as needed) | Local test code | Local test code description | Testing location (In-house/ Send-out) | If send-out test, complete columns E and F |  | Testing Sequence (Initial/ Reflex) | Laboratory developed test (LDT) (Yes/No) [Answer 'Yes' if a commercial test is used but your laboratory varies from its exact specifications.] | Package insert provided (Yes/No) | If package insert is not provided, columns J, K and L are all required to be completed |  |  | Order LOINC code | Order LOINC code description (long common name) | Observation LOINC code | Observation LOINC code description (long common name) | Observation type (Qualitative/ Quantitative) | If qualitative test, complete columns R and S |  | If quantitative test, complete columns T and U |  | Acceptable specimen type(s) for test |  | Terminology content review notes | Terminology content assessment (Pass/Fail) | Identifiers for HL7 message testing |  | Date specimen ID sent to TDH | Message testing review notes | Message testing assessment (Pass/Fail)
|  |  |  | Laboratory name | Test code |  |  |  | Manufacturer | Device/model/system | Test kit/assay name | [5 empty] | Observation SNOMED-CT code | Observation SNOMED-CT code description | Reference range | Units | Specimen SNOMED-CT code | Specimen SNOMED-CT code description |  |  | Message control ID | Specimen ID

## Culture & Microscopy
Local X (add local columns as needed) | Local test code | Local test code description | Testing location (In-house/ Send-out) | If send-out test, complete columns E and F |  | Testing Sequence (Initial/ Reflex) | Order LOINC code | Order LOINC code description (long common name) | Observation LOINC code | Observation LOINC code description (long common name) | Observation type (Qualitative/ Quantitative) | If qualitative test, complete columns M and N |  | If quantitative test, complete columns O and P |  | Terminology content review notes | Terminology content assessment (Pass/Fail) | Identifiers for HL7 message testing |  | Date specimen ID sent to TDH | Message testing review notes | Message testing assessment (Pass/Fail)
|  |  |  | Laboratory name | Test code | [6 empty] | Observation SNOMED-CT code | Observation SNOMED-CT code description | Reference range | Units |  |  | Message control ID | Specimen ID

## Organism List
Local X (add local columns as needed) | Local result code | Local result code description | SNOMED-CT code | SNOMED-CT code description | Terminology content review notes | Terminology content assessment (Pass/Fail) | Identifiers for HL7 message testing |  | Date specimen ID sent to TDH | Message testing review notes | Message testing assessment (Pass/Fail)
[7 empty] | Message control ID | Specimen ID

## Specimen Source List
Local X (add local columns as needed) | Local result code | Local result code description | SNOMED-CT code | SNOMED-CT code description | Terminology content review notes | Terminology content assessment (Pass/Fail) | Identifiers for HL7 message testing |  | Date specimen ID sent to TDH | Message testing review notes | Message testing assessment (Pass/Fail)
[7 empty] | Message control ID | Specimen ID

## Antimicrobial Drugs
Local X (add local columns as needed) | Local test code | Local test code description | Testing location (In-house/ Send-out) | If send-out test, complete columns E and F |  | Testing Sequence (Initial/ Reflex) | Order LOINC code | Order LOINC code description (long common name) | Observation LOINC code | Observation LOINC code description (long common name) | Observation type (Qualitative/ Quantitative) | If qualitative test, complete columns M and N |  | If quantitative test, complete columns O and P |  | Terminology content review notes | Terminology content assessment (Pass/Fail) | Identifiers for HL7 message testing |  | Date specimen ID sent to TDH | Message testing review notes | Message testing assessment (Pass/Fail)
|  |  |  | Laboratory name | Test code | [6 empty] | Observation SNOMED-CT code | Observation SNOMED-CT code description | Reference range | Units |  |  | Message control ID | Specimen ID

## Examples-Non-Cult & Non-Microsc
Local X (add local columns as needed) | Local test code | Local test code description | Testing location (In-house/ Send-out) | If send-out test, complete columns E and F |  | Testing Sequence (Initial/ Reflex) | Laboratory developed test (LDT) (Yes/No) [Answer 'Yes' if a commercial test is used but your laboratory varies from its exact specifications.] | Package insert provided (Yes/No) | If package insert is not provided, columns J, K and L are all required to be completed |  |  | Order LOINC code | Order LOINC code description (long common name) | Observation LOINC code | Observation LOINC code description (long common name) | Observation type (Qualitative/ Quantitative) | If qualitative test, complete columns R and S |  | If quantitative test, complete columns T and U |  | Acceptable specimen type(s) for test
|  |  |  | Laboratory name | Test code |  |  |  | Manufacturer | Device/model/system | Test kit/assay name | [5 empty] | Observation SNOMED-CT code | Observation SNOMED-CT code description | Reference range | Units | Specimen SNOMED-CT code | Specimen SNOMED-CT code description
Example1 |  |  | In-house |  |  | Initial | No | Yes |  |  |  | 10368-9 | Lead [Mass/volume] in Capillary blood | 10368-9 | Lead [Mass/volume] in Capillary blood | Quantitative |  |  | ≥ 3.5 | ug/dL | 122554006 | Capillary blood specimen (specimen)
Example2 |  |  | In-house |  |  | Initial | No | No | Meridian BioScience | LeadCare II |  | 10368-9 | Lead [Mass/volume] in Capillary blood | 10368-9 | Lead [Mass/volume] in Capillary blood | Quantitative |  |  | ≥ 3.5 | ug/dL | 122554006 | Capillary blood specimen (specimen)
Example3.1 |  |  | In-house |  |  | Initial | No | No | Abbott | Architect | HBsAg Qualitative | 5196-1 | Hepatitis B virus surface Ag [Presence] in Serum or Plasma by Immunoassay | 5196-1 | Hepatitis B virus surface Ag [Presence] in Serum or Plasma by Immunoassay | Qualitative | 260373001 | Detected |  |  | 119364003 119361006 | Serum specimen (specimen) Plasma specimen (specimen)
[17 empty] | 260415000 | Not detected
Example3.2 |  |  | In-house |  |  | Reflex | No | No | Abbott | Architect | HBsAg Qualitative Confirmatory | 7905-3 | Hepatitis B virus surface Ag [Presence] in Serum or Plasma by Neutralization test | 7905-3 | Hepatitis B virus surface Ag [Presence] in Serum or Plasma by Neutralization test | Qualitative | 260373001 | Detected |  |  | 119364003 119361006 | Serum specimen (specimen) Plasma specimen (specimen)
[17 empty] | 260415000 | Not detected
Example4 | [5 empty] | Initial | No | No | LDT |  | Cryptosporidium Ag IF | 39534-3 | Cryptosporidium sp Ag [Presence] in Stool by Immunofluorescence | 39534-3 | Cryptosporidium sp Ag [Presence] in Stool by Immunofluorescence | Qualitative | 260373001 | Detected |  |  | 119339001 | Stool specimen (specimen)
Example5 |  |  | Send-out |  |  | Initial | No | No | Thermo Fisher | TaqPath | COVID-19 Combo Kit | 94531-1 | SARS Coronavirus 2 RNA panel - Respiratory specimen by NAA with probe detection | 94500-6 | SARS coronavirus 2 RNA [Presence] in Respiratory specimen by NAA with probe detection | Qualitative | 260373001 | Detected |  |  | 258500001 258411007 258607008 | Nasopharyngeal swab (specimen) Nasopharyngeal aspirate (specimen) Bronchoalveolar lavage fluid specimen (specimen)
Example6 |  |  | Send-out | P23 Labs | 678910 | Initial | No | No | P23 Labs | TaqPath | SARS-CoV-2 Assay | [9 empty] | 697989009 258500001 461911000124106 258467004 258411007 429931000124105 258607008 | Anterior nares swab (specimen) Nasopharyngeal swab (specimen) Swab specimen from oropharynx (specimen) Nasopharyngeal washings (specimen) Nasopharyngeal aspirate (specimen) Nasal aspirate (specimen) Bronchoalveolar lavage fluid specimen (specimen)
[12 empty] | 94500-6 | SARS coronavirus 2 RNA [Presence] in Respiratory specimen by NAA with probe detection | 94500-6 | SARS coronavirus 2 RNA [Presence] in Respiratory specimen by NAA with probe detection | Qualitative | 260373001 | Detected
[12 empty] | 94500-6 | SARS coronavirus 2 RNA [Presence] in Respiratory specimen by NAA with probe detection | 94745-7 | SARS-CoV-2 (COVID-19) RNA [Cycle Threshold #] in Respiratory specimen by NAA with probe detection | Quantitative |  |  | < 35 | Ct value
Example7 |  |  | In-house |  |  | Initial | No | No | Quidel | Sofia 2 | Flu + SARS Antigen FIA | [9 empty] | 697989009 258500001 | Anterior nares swab (specimen) Nasopharyngeal swab (specimen)
[12 empty] | 95942-9 | Influenza virus A and B and SARS-CoV+SARS-CoV-2 (COVID-19) Ag panel - Upper respiratory specimen by Rapid immunoassay | 80382-5 | Influenza virus A Ag [Presence] in Upper respiratory specimen by Rapid immunoassay | Qualitative | 260373001 | Detected
[12 empty] | 95942-9 | Influenza virus A and B and SARS-CoV+SARS-CoV-2 (COVID-19) Ag panel - Upper respiratory specimen by Rapid immunoassay | 80383-3 | Influenza virus B Ag [Presence] in Upper respiratory specimen by Rapid immunoassay | Qualitative | 260373001 | Detected
[12 empty] | 95942-9 | Influenza virus A and B and SARS-CoV+SARS-CoV-2 (COVID-19) Ag panel - Upper respiratory specimen by Rapid immunoassay | 95209-3 | SARS-CoV+SARS-CoV-2 (COVID-19) Ag [Presence] in Respiratory specimen by Rapid immunoassay | Qualitative | 260373001 | Detected

## Examples-Culture & Microscopy
Local X (add local columns as needed) | Local test code | Local test code description | Testing location (In-house/ Send-out) | If send-out test, complete columns E and F |  | Testing Sequence (Initial/ Reflex) | Order LOINC code | Order LOINC code description (long common name) | Observation LOINC code | Observation LOINC code description (long common name) | Observation type (Qualitative/ Quantitative) | If qualitative test, complete columns M and N |  | If quantitative test, complete columns O and P
|  |  |  | Laboratory name | Test code | [6 empty] | Observation SNOMED-CT code | Observation SNOMED-CT code description | Reference range | Units
Example1 |  |  | In-house |  |  | Initial | 10347-3 | Babesia microti identified in Blood by Light microscopy | 10347-3 | Babesia microti identified in Blood by Light microscopy | Qualitative | 61131000284104 | Seen
[11 empty] | Qualitative | 47492008 | Not seen
Example2 |  |  | In-house |  |  | Initial | 82301-3 | Salmonella sp [Presence] in Stool by Culture | 82301-3 | Salmonella sp [Presence] in Stool by Culture | Qualitative | 46651001 | Isolated
[12 empty] | 264887000 | Not isolated
Example3A |  |  | Send-out | Secondary Laboratories | 1112131415 | Initial | 634-6 | Bacteria identified in Specimen by Aerobe culture | 634-6 | Bacteria identified in Specimen by Aerobe culture | Qualitative | Various | See Organism List tab
Example3B |  |  | In-house |  |  | Initial | 82305-4 | Gastrointestinal pathogens panel - Stool by Culture
[9 empty] | 82303-9 | Escherichia coli O157 [Presence] in Stool by Culture | Qualitative | 46651001 | Isolated
[11 empty] | Qualitative | 264887000 | Not isolated
[9 empty] | 82302-1 | Campylobacter sp [Presence] in Stool by Culture | Qualitative | 46651001 | Isolated
[11 empty] | Qualitative | 264887000 | Not isolated
[9 empty] | 82301-3 | Salmonella sp [Presence] in Stool by Culture | Qualitative | 46651001 | Isolated
[11 empty] | Qualitative | 264887000 | Not isolated
[9 empty] | 82300-5 | Shigella sp [Presence] in Stool by Culture | Qualitative | 46651001 | Isolated
[11 empty] | Qualitative | 264887000 | Not isolated
Example4.1 |  |  | Send-out | Secondary Laboratories | 1112131415 | Initial | 625-4 | Bacteria identified in Stool by Culture | 625-4 | Bacteria identified in Stool by Culture | Qualitative | 77352002 | Genus Shigella (organism)
Example4.2 |  |  | Send-out | Secondary Laboratories | 2138 | Reflex | 50545-3 | Bacterial susceptibility panel by Minimum inhibitory concentration (MIC)
|  |  | Send-out | Secondary Laboratories | 2138-1 | Reflex |  |  | 28-1 | Ampicillin [Susceptibility] by Minimum inhibitory concentration (MIC) | Quantitative |  |  | ≤ 5.7 | μg/mL
|  |  | Send-out | Secondary Laboratories | 2138-2 | Reflex |  |  | 36-4 | Azithromycin [Susceptibility] by Minimum inhibitory concentration (MIC) | Quantitative |  |  | ≤ 2.3 | μg/mL
|  |  | Send-out | Secondary Laboratories | 2138-3 | Reflex |  |  | 80-2 | Cefixime [Susceptibility] by Minimum inhibitory concentration (MIC) | Quantitative |  |  | ≤ 7.9 | μg/mL
|  |  | Send-out | Secondary Laboratories | 2138-4 | Reflex |  |  | 185-9 | Ciprofloxacin [Susceptibility] by Minimum inhibitory concentration (MIC) | Quantitative |  |  | ≤ 3.5 | μg/mL
|  |  | Send-out | Secondary Laboratories | 2138-5 | Reflex |  |  | 516-5 | Trimethoprim+Sulfamethoxazole [Susceptibility] by Minimum inhibitory concentration (MIC) | Quantitative |  |  | ≤ 6.1 | μg/mL

## Examples-Organism List
Local X (add local columns as needed) | Local result code | Local result code description | SNOMED-CT code | SNOMED-CT code description
Example1 | SALM | Salmonella | 27268008 | Genus Salmonella (organism)
Example3 | BURKSP | Burkholderia sp | 116201008 | Burkholderia species (organism)
Example2 | BURKMAL | Burkholderia mallei | 113674000 | Burkholderia mallei (organism)
Example4 | 302 | Campy coli | 40614002 | Campylobacter coli (organism)
Example5 | 303 | Campy cinaedi | 123130004 | Campylobacter cinaedi (organism)
Example6 | CRYPTO | Cryptosporidium | 83821001 | Cryptosporidium (organism)
Example7 | 707 | Giardia cyst | 608946009 | Cyst of genus Giardia (organism)

## Examples-Specimen Source List
Local X (add local columns as needed) | Local result code | Local result code description | SNOMED-CT code | SNOMED-CT code description
Example1 | BLD | BLOOD | 119297000 | Blood specimen (specimen)
Example2 | SERU | SERUM | 119364003 | Serum specimen (specimen)
Example6 | SAL | SALIVA | 119342007 | Saliva specimen (specimen)
Example3 | SPU | SPUTUM | 119334006 | Sputum specimen (specimen)
Example5 | STL | STOOL | 119339001 | Stool specimen (specimen)
Example4 | FECES | FECES | 119339001 | Stool specimen (specimen)
Example7 | URINE | URINE | 122575003 | Urine specimen (specimen)

## Examples-Antimicrobial Drugs
Local X (add local columns as needed) | Local test code | Local test code description | Testing location (In-house/ Send-out) | If send-out test, complete columns E and F |  | Testing Sequence (Initial/ Reflex) | Order LOINC code | Order LOINC code description (long common name) | Observation LOINC code | Observation LOINC code description (long common name) | Observation type (Qualitative/ Quantitative) | If qualitative test, complete columns M and N |  | If quantitative test, complete columns O and P
|  |  |  | Laboratory name | Test code | [6 empty] | Observation SNOMED-CT code | Observation SNOMED-CT code description | Reference range | Units
Example1 |  |  | Send-out | Secondary Laboratories | 2138 | Reflex | 50545-3 | Bacterial susceptibility panel by Minimum inhibitory concentration (MIC)
|  |  | Send-out | Secondary Laboratories | 2138-1 | Reflex |  |  | 28-1 | Ampicillin [Susceptibility] by Minimum inhibitory concentration (MIC) | Quantitative |  |  | ≤ 5.7 | μg/mL
|  |  | Send-out | Secondary Laboratories | 2138-2 | Reflex |  |  | 36-4 | Azithromycin [Susceptibility] by Minimum inhibitory concentration (MIC) | Quantitative |  |  | ≤ 2.3 | μg/mL
|  |  | Send-out | Secondary Laboratories | 2138-3 | Reflex |  |  | 80-2 | Cefixime [Susceptibility] by Minimum inhibitory concentration (MIC) | Quantitative |  |  | ≤ 7.9 | μg/mL
|  |  | Send-out | Secondary Laboratories | 2138-4 | Reflex |  |  | 185-9 | Ciprofloxacin [Susceptibility] by Minimum inhibitory concentration (MIC) | Quantitative |  |  | ≤ 3.5 | μg/mL
|  |  | Send-out | Secondary Laboratories | 2138-5 | Reflex |  |  | 516-5 | Trimethoprim+Sulfamethoxazole [Susceptibility] by Minimum inhibitory concentration (MIC) | Quantitative |  |  | ≤ 6.1 | μg/mL

## Helpful Links
Tennesee Department of Health (TDH) Resources
Chapter 1200-14-01 (specifically Rule 1200-14-01-.02 Reportable Diseases)
Laboratory Result Reporting
2024 Reportable Diseases in Tennessee: Detailed Laboratory Guidance (effective January 1, 2024)
Meaningful Use/Promoting Interoperability and the other Public Health Options
Centers for Disease Control and Prevention (CDC) Resources
Public Health Information Network Vocabulary Access and Distribution System (PHIN VADS) and the Reportable Conditions Mapping Tables (RCMT)
Division of Laboratory Systems (DLS), LOINC In Vitro Diagnostic (LIVD) Test Code Mapping
Other Resources
HL7 International
- | HL7 Version 2.5.1 Implementation Guide: Electronic Laboratory Reporting to Public Health, Release 1 (US Realm)
National Institute of Standards and Technology (NIST)
- | NIST HL7 2.5.1 Validation Suite
National Library of Medicine
- | SNOMED CT
LOINC from Regenstrief
- | LOINC Search
SNOMED International
- | SNOMED-CT
| - | SNOMED-CT Browser
UCUM from Regenstrief